Cross-Connection Control Program

BACKFLOW INCIDENT REPORT FORM

Note:  Use this form to comply with WAC 246-290-490(8)(g).

## Part 1: Public Water System (PWS) Information

| PWS ID: | PWS Name: | County: |
| --- | --- | --- |

Part 2: Backflow Incident Information

A.  Incident Identification

| Incident date: | Time of incident: | Incident ID (DOH use): |
| --- | --- | --- |

B.  Information on Premises where Backflow Originated

| Name of premises: |
| --- |
| Premises physical address: |
| City: , | Zip: |
| Premises type: non-residential residential |
| Premises category/description (Table 9 category*, if applicable): |
| Most recent hazard evaluation prior to incident (mm/dd/yyyy): None |
| PWS’s assessed hazard level: | Premises isolation required by PWS? Yes No |
| Type of backflow preventer required by PWS: | PWS relies on in-premises protection? Yes No |
| Other hazard evaluation information: |

*See WAC 246-290-490(4)(b)(i).

C.  Method of Discovery of Backflow

| How the backflow was discovered (check all that apply): | Direct observation ………………. Meter running backwards ……….. Water use decrease ……………… Disinfectant residual monitoring ... Water quality monitoring ……….. |  | Water quality complaint ……………..... Illness/injury complaint ……………...... Result of Investigation ………………... Other (Describe): |  |
| --- | --- | --- | --- | --- |
| Incident reported to the public water system by: | PWS Personnel Premises Owner/Occupant Other PWS Customer Backflow Assembly Tester Other (Specify): |

D.  Contaminant Information

| Contaminant type (check all that apply): | Microbiological Chemical Physical |
| --- | --- |
| Describe contaminant (for example, the organism name, chemical, etc.). Please attach lab analysis or MSDS, if available. |  |

E.  Extent and Effects of Contamination

| Estimated extent of contamination: | Contained within premises Entered PWS distribution system |
| --- | --- |
| Estimated number of connections affected: | Residential Non-residential |
| Estimated population affected or at risk: | Residential Non-residential |
| Number water quality complaints: | Describe water quality complaints: |
| Number illnesses reported: | Describe illnesses/irritation (specific illnesses, if known): |
| Number physical injuries(e.g. burns) or irritation(e.g. rashes) cases reported: |  |

Part 3: Cross-Connection Control Information at Backflow Site

A.  Source of Contaminant

| Source of contaminant or fixture type (check all that apply): | Air conditioner/heat exchanger …..… Auxiliary water supply ……………... Beverage machine ……………..…… Boiler, hot water system ……..….…. Chemical injector/aspirator …….…... Fire protection system …………..….. Irrigation system (PWS supplied) ….. |  | Industrial/commercial process water/fluid………………………. Medical/dental fixture ………..…… Reclaimed water system………..….. Swimming pools, spa ….……..……. Wastewater (sewage) system …..….. Other (specify): ……….……. …………………………….. |  |
| --- | --- | --- | --- | --- |

B.  Distribution System Pressure Conditions in the Vicinity of the Backflow Incident

| Type of backflow: | Backsiphonage Backpressure | Typical distribution system pressure in vicinity of incident (if range, enter lower end of range): psi |
| --- | --- | --- |
| Main/pressure status at time of incident (check all that apply): | Normal …………………………….... Main break ………………….............. Fire fighting ………………………… Other high usage ……………………. Power outage ………………………… |  | Source/plant outage ………………… Scheduled water shutoff by PWS …... Unscheduled/emergency shutoff …… Unknown ...……………………......... Other (specify) |  |

Describe causes and circumstances leading to backflow:

C.  Backflow Preventer Information/Installation/Approval Status at Site of Backflow

| Complete the tables in C and D for the premises isolation preventer for either of the following situations: If a premises isolation backflow preventer is installed and the contaminant entered the PWS distribution system. If the premises isolation assembly is the only backflow preventer at the site. In all other cases, complete tables in C and D for the in-premises backflow preventer installed at the fixture. If more than one backflow preventer was involved in the backflow incident, copy tables C and D and complete them for the additional preventer(s). |
| --- |
| If no backflow preventer was installed at the time the incident occurred, check this box and go directly to Part 4. Don’t fill out the tables below (in C and D). |
| Backflow preventer information: | Type installed: Installed for: |
|  | Make: Model: Size: Serial number: Date installed: |
| Installation status (check all that apply): | Properly installed/plumbed Improperly protected bypass present Improperly installed/plumbed If so, explain: |
| Commensurate with assessed degree of hazard? | Yes No | If not, explain: |
| DOH/USC-approved at time of backflow incident? | Yes No | If not, approved when installed? Yes No |

D.  Backflow Preventer Inspection/Testing Information at Site of Backflow

| Most recent inspection/test information prior to backflow incident. Attach test report(s), if available. | No test report on record ….................................................. |
| --- | --- |
|  | Date tested/inspected: Passed test/inspection without repairs ………………… Failed initial test/inspection, passed after repair ……… Failed test/inspection, no repairs made ……………….. |  |
| Inspection/test information after backflow incident [per WAC 246-290-490(7)(b)]. Attach test report. | Not tested/inspected …................................................... |  |
|  | Date tested/inspected: Passed test/inspection without repairs ………………… Failed initial test/inspection, passed after repair………. Failed test/inspection, no repairs made………………... |  |
| Preventer failure information , if applicable (check all that apply): | Fouled check ………………. Debris ……………………… Weather-related damage …... |  | Damaged seat …. Other: |  |
| If preventer failed inspection/test, did failure allow backflow? | Yes No If yes, explain: |

Part 4: Corrective Action/Notifications

| Action taken by PWS to restore water quality (check all that apply): | None ……………………… Flushed/cleaned mains …… Flushed/cleaned plumbing… Disinfected mains ………… Disinfected plumbing ……... |  | Other treatment (describe): Replaced mains ………… Replaced plumbing …….. Other: |  |
| --- | --- | --- | --- | --- |
| Action ordered by PWS to correct cross-connection (check all that apply): | None ……………….……… Eliminate cross-connection... Remove by-pass …………... Install new preventer … For premises isolation For fixture protection |  | Change existing preventer Repair/replumb …..…… Reinstall correctly …...... Replace with same type Upgrade type ........……. Other: |  |
| Action ordered accomplished? | Yes Date: No If no, explain: |
| Agency notifications per WAC 246-290-490(8)(f) (check all that apply): | DOH Local Health Agency Local Adm. Authority Issued by end of next business day: |
| Notifications of consumers in area of incident (check all that apply): | Population at risk Public notification (PN per DOH regs.) Boil Water Advisory Other (describe): |
| Other enforcement/corrective actions (describe): |  |

Part 5: Cost of Backflow Incident (optional)

| Item | PWS Personnel Hours Expended | Cost to PWS ($) | Cost to Premises Owner ($) |
| --- | --- | --- | --- |
| Investigation |  |  |  |
| Restoration of water quality |  |  |  |
| Correction of cross-connection situation |  |  |  |
| Litigation and/or settlement |  |  |  |
| Other not included in above |  |  |  |

Part 6:  Further Information/Documentation

Additional information about this incident such as pictures, sketches, newspaper/journal articles, water quality analyses, epidemiological reports, etc. would be helpful. Information may be in electronic form or hard copy.

Part 7:  Form Completion Information

Note:  Form should be completed by a person currently certified as a Cross-Connection Control Specialist.

| I certify that the information provided in this Backflow Incident Report is complete and accurate to the best of my knowledge. |
| --- |
| CCC Program Mgr. Name (print): | Title: |
| Signature: | CCS Cert. Number: | Date: |
| Phone: | E-mail: |
| I have reviewed this report and certify that the information is complete and accurate to the best of my knowledge. |
| PWS Mgr./Representative Name (Print): | Title: |
| Signature: | Op. Cert. Number: | Date: |

Please send completed backflow incident form:

By mail to:

Washington State Department of Health

Office of Drinking Water – CCC Program Manager

P O Box 47822

Olympia, WA 98504-7822

By email to:  cccprogram@doh.wa.gov

Please send questions, comments, or suggestions about this form to us at the address above or e-mail them to cccprogram@doh.wa.gov

For people with disabilities, this document is available on request in other formats. To submit a request, please call 1-800-525-0127 (TDD/TTY call 711).